## Aux-Currencies (hidden)
EUR | 1 | 1 | 1 | 1 | 1 | 1
USD
RSD

## Sheet1
LOT 188 | Bidder: |  | TOTAL DAP PRICE OF LOT No188: |  |  | 0
Delivery address: Institut za nuklearne nauke `Vinča` , Mike Petrovica Alasa 12-14, 11001 Beograd, P.O.Box 522 |  |  |  | 0
|  |  | Total EXW price |  | 0 | Date:
Shipping, handling and insurance
Line item No. | Reference No. | Technical Specification Requested | Technical Specification Offered | QTY | EXW Unit price | Total Price per line item
1 | Microscope |  |  | 1 | 0 | 0
| 5545 | Stabile robust stand - Halogen illuminator min.12V 100W with possibility to adjust on stand or/and on macro/micro wheel - Binocular phototube with eyepiece 10x and with min. FOW 23 - Objectives: 10x/0.20, 20x/0.45Ph2, 40x/0.65Ph2, Polarized 50x/0.70 and 100x/1.30Oil - 6 position coded nosepiece - Light manager - 6 position coded reflector turret - Integrated filters for transmitted light min. 8 pieces - Achromatic-aplanatic universal condenser 0.9 H D Ph DIC, with minimum 8 position and for objectives from 1 up to 100x - Bright field, dakfield, phase contrast - Reflected polarized light (polarizer and 360° rotatable analyzer) - Fluorescence min. 100W with filter sets for DAPI , FITC and Rhodamin - mechanical stage with possibility for rotation min 240 º - specimen holder for transmitted light - specimen holder for reflected light - Side photo port - Digital color microscope camera: 5 Mpix, Interfaces: 1x SD card slot, 1x mini USB 2.0, 1x AV (S-Video), 1x DVI- D (HDMI) - Digital monochromatic camera with dynamic range of min. 1000:1 and min. 1.4Mpixel - Image processing software (multichannel and measurement) and controlling of microscope and cameras.
Note on C1: Insert legal name of the Bidder
Note on E1: Choose from combo box EUR/USD/RSD
Note on F4: Include shipping, handling, insurance and all other costs to reach DAP price
Note on G4: Insert Date
Note on F7: Insert CIF price
Note on D8: FILL all white fields, write brand, trade name, model and all relevant trade details